(Program Title)

### SCHOOL-BASED HEALTH CENTERS POLICIES AND PROCEDURES

Infectious Waste Disposal

POLICY STATEMENT

It is the policy of the School-Based Health Center to store infectious waste in biohazard containers on site until the container is half-full.

PROCEDURE

Biohazard Containers are clearly marked with biohazard sticker and red bags.

When a biohazard container is half-full, the medical provider should seal the container with tape, making sure that the top of the container is taped down securely and brought to the SBHC administrative office for disposal.

At the end of every school year, all infectious waste (sharps) containers are brought to SBHC administrative office.

The containers are transported for proper disposal in their biohazard material system.

See the sponsoring agency’s Exposure Control Plan for more specific information regarding procedures to promote safe work practices.