Lab Quality Assurance 
Schedule and Procedures

SUBJECT:	Quality Assurance Schedule for 
LAB and Cleaning of Patient Care Area

DAILY SCHEDULE:

- Wipe down all countertops and exam tables with Lysol Spray Disinfectant

Foam or 10% bleach solution.

- Record on Daily Counter Wipe Down Form.

- Clean microscope and centrifuges if they have been contaminated in any way.

WEEKLY SCHEDULE:

- Clean microscope and centrifuges.

- Change temperature recorder disk in vaccine refrigerator.

MONTHLY SCHEDULE:

- Complete centrifuge maintenance list in QA book.

- Complete microscope maintenance list in QA book.

- Check high and low of glucometer or when new bottle of 
glucometer strips are opened.

EVERY SIX MONTHS:

- Change AA battery in Refrigerator thermometer.

- We keep a flow sheet in our QA manual to document and compare 
Hematocrit results. ( Reference lab: LabCorp)

YEARLY SCHEDULE:

- Have scales balanced.

- Have temperature recorders sent in for inspection and maintenance.

- Have both centrifuges professionally inspected and maintenance done.

- Have microscope professionally inspected and maintenance done.

AS NEEDED:

- Maintain adequate supply of wet mount tubes.

- Stamp lab slips and write in code numbers.

- Take full sharps containers/biohazardous containers to SBHC 
main office for disposal.

- Get equipment that is going to expire autoclaved at SBHC.

- Clean equipment that gets contaminated immediately.

- When a new urine HCG test kit or Rapid Strep Test Kit is opened do Q & A.

- Each time a NEW BOTTLE IS OPENED:

Urine Dip Stick Test Strips

Blood Glucose Test Strips