(Program Title)

### SCHOOL-BASED HEALTH CENTERS POLICIES AND PROCEDURES

Clinical Laboratory Improvement Amendments of 1988 (CLIA)

POLICY STATEMENT

The SBHC will ensure quality laboratory testing and specimen collection through participation in and compliance with the CLIA program where appropriate.  The center will have a certificate of waiver, a certificate for provider performed microscopy procedures, or a registration certificate.

PROCEDURE

A laboratory manual that includes copies of manufacturer’s instructions and quality control procedures is keep current and accessible.

Laboratory equipment is labeled, in working order, and calibrated on an annual basis.

The following CLIA waved tests may be performed on site:

Dipstick or tablet reagent urinalysis (non-automated)

Fecal occult blood

Ovulation test

Urine pregnancy test

Erythrocyte sedimentation rate (non-automated)

Hemoglobin (automated) by single analyte instruments with self-contained or component features to perform specimen-reagent interaction, providing direct measurement and readout

Cholesterol test

Blood glucose by glucose monitoring devices cleared by the FDA, specifically for home use

Rapid strep screen

Other tests as indicated by Guidelines Adolescent Preventative Services (GAPS) or Bright Futures and medical symptoms / conditions.

Refer to sponsoring agency for procedures on individual test.

CLIA certificate is current and must be available or displayed.

All tests need to be logged in appropriate lab log sheet or system for tracking tests 
performed and results.

Record tests in student’s health record.

More information may be found on the Internet at www.fda.gov/cdrh/clia/ 
and related links.