CABIN CREEK AND RIVERSIDE HEALTH CENTERS

P.O. Box 70, Dawes, WV 25054

(304)595-5006

Subject: Clinical Laboratory 						Policy No. 115

Department: SBH							Date of Original: 07/16/03

Date of Last Revision:

Approval			Date					Page 1 of 1

Policy:

The Riverside Health Center will ensure quality laboratory testing and specimen collection through participation in and compliance with the CLIA program where appropriate. The center will have a certificate of waiver including a certificate for provider performed microscopy procedures which is current.

Procedure:

- A laboratory manual that includes copies of manufacturer's instructions and quality control procedures is kept current and accessible.

2. Laboratory equipment is labeled, in working order, and calibrated on annual basis.

3. The following CLIA waived tests can be performed on site:

- Dipstick reagent urinalysis (non-automated)

- Fecal occult blood

- Urine pregnancy test

- Rapid strep screen

- Hemoglobin by HemoCue

- Wet Mounts

- KOH Preps

4. Refer to sponsoring agency for procedures on individual test.

5. All tests are to be logged in appropriate lab log for tracking tests and controls.

6. Results are documented in the patient health record.