CABIN CREEK AND RIVERSIDE HEALTH CENTERS

P.O. Box 70, Dawes, WV 25054

(304)595-5006

Subject: Temperature Record					Policy No. 245

Department: RHC-SBH						Date of Original: 8/26/03

Date of Last Revision:

Approval			Date					Page 1 of 2

Policy:

This policy is to serve as a guide in tracking room, refrigerator, and freezer temperatures which are used to store vaccinations, medications, and lab specimens.

Procedure:

- Room, refrigerator, and freezer temperatures are to be checked and documented twice daily.  The first temperatures are to be checked in the am hours and the second check in the pm.

- The temperatures are to be documented on the Temperature Record.

- Room temperature should range between 15 and 30 C.  Freezer temperature should be less than -15C.  Refrigerator temperature should range between 2 and 8 C.  If the temperatures are not to be in the acceptable range, the clinical director is to be notified.

- The clinical director will follow the VFC Vaccine Incident Management Guidance information.

RIVERSIDE HEALTH CENTER

TEMPERATURE RECORD

MONTH _______________     YEAR _________________

| DAY | ROOM TEMP Range 15-30 C |  | FREEZR TEMPERATURE Range < -15 C |  | REFRIGERATOR TEMPERATURE Range 2-8 C |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | am | pm | am | pm | am | pm |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |